Request for Proposal/BID Document of Splendor Complex CHS Ltd.

Notice Inviting Tender (NIT)

- Introduction

- Name of Work

- Tender Schedule

- Contact Details

- Important Dates

2. Background to be supplied by the Complex

- About Oberoi Splendor

- Society Profile

- Number of Towers

- Clubhouse

- STP

- Water Pumps

- DG Sets

- Common Area Lighting

- HVAC Systems

- HT Electrical Infrastructure

- Existing Electricity Consumption

- Annual Electricity Cost

3. Objectives

- Reduce electricity consumption

- Improve electrical safety

- Improve fire safety

- Improve operational efficiency

- Recommend Energy Conservation Measures (ECMs)

- Identify renewable energy opportunities

- Carbon reduction roadmap

4. Scope of Work

Detailed Energy Audit Including:

- LT Panels

- DG Sets

- Pumps, Hydro Pneumatic System

- Domestic Water Pumps

- STP

- Fire Pumps

- Lifts

- Lighting

- Clubhouse

- Swimming Pool

- Tennis Court

- Basement Ventilation

- Common Area Lighting

- Street Lighting

- Building Load

- HVAC

- Demand Optimization

5. Electrical Safety Audit (As applicable)

- Thermography

- Earthing and Lightning Protection

- Cable Health

- MCC Panels and LT Panels

- DG Panels

- RCCBs

- UPS if applicable

- Battery Rooms if applicable

6. Fire Safety Audit

- Fire Pumps

- Fire Alarm

- Fire Detection

- Fire Load Assessment

- Evacuation

- Fire Signages

- Electrical Fire Risks

7. Data Collection

Documents to be supplied by Society

- Two-years electricity bills

- SLDs and other details about our installation from Tata Power

- Equipment Manuals

- Previous Audit Reports

8. Deliverables

The consultant shall submit:

- Baseline Report

- Equipment Efficiency Report including Pump Efficiency

- Lift Energy Analysis, HVAC Analysis, Lighting Analysis

- Electrical Safety Report and Fire Safety Report

- Cost Benefit Analysis and ROI

- Payback

- Implementation Roadmap

9. Eligibility Criteria (covered in a note attached)

- Registered Company with GST PAN ISO Certification

- Minimum 5 years' experience of similar projects

- BEE Certified Energy Auditor and Licensed Electrical Safety Engineer

- Fire Safety Auditor

- Financial Turnover

- Solvency Certificate

11. Bid Submission

- Technical Bid

- Financial Bid

- Required documents checklist

12. Commercial Terms

- Payment Schedule

- Performance Security

- Liquidated Damages

- Completion Time

- Confidentiality

- Intellectual Property

- Insurance

14. Annexures

- Bid Forms

- Financial Bid Format

- Experience Format

- Team CV Format

- Declaration

- Power of Attorney

- Integrity Pact