🏢 Proposed Energy Conservation Makeover for Our Complex

1. Lighting Automation

- Install lux sensors in each lobby (189 lobbies total). Two sensors are needed for each lift lobby of 7 towers to compensate for large differential between front and rear areas.

- Program thresholds: lights switch on only when lux < 150–200 lx.

- Integrate with smart lighting fixtures for late-night hours.

2. LED Retrofit

- Replace all CFL/fluorescent fixtures with high-efficiency LED panels.

- Expected savings: 50–60% reduction in lobby lighting load.

3. Daylight Harvesting

- Use transparent/reflective panels near lobby openings to maximize natural light.

- Adjust lux sensor thresholds to leverage daylight.

4. Smart Controls (Needs capital expenditure, second phase)

- Deploy a Building Management System (BMS) with centralized monitoring.

- Features: real-time lux readings, auto-alerts for wastage, remote override.

5. Solar Integration

- Rooftop solar panels across towers to power lobby lighting (requires detailed study).

- Net-metering with Tata Power for surplus energy.

6. Maintenance & Calibration

- Annual lux meter calibration (via approved agencies).

- Quarterly audits to ensure compliance with BEE/ECBC standards.